## Slide 1: Three-Phase Circuits
Chapter #12

## Slide 2
different three-phase configurations and how to analyze them.
the difference between balanced and unbalanced circuits
about power in a balanced three-phase system
how to analyze unbalanced three-phase systems
After completing this chapter, you will learn

## Slide 3
12.1 Introduction
Circuits or systems in which the ac sources operate at the same frequency but different phases are known as polyphase. A three-phase system is produced by a generator consisting of three sources having the same amplitude and frequency but out of phase with each other by 120o . Since the three-phase system is by far the most prevalent and most economical polyphase system, this chapter is mainly on three-phase systems

## Slide 4
Three-phase systems are important for at least three reasons
1.
All electric power is generated and distributed in three-phase, at the operating frequency of 60 Hz in the United States or 50 Hz in some other parts of the world. When one-phase or two-phase inputs are required, they are taken from the three-phase system rather than generated independently.
2.
The instantaneous power in a three-phase system can be constant. This results in uniform power transmission and less vibration of three-phase machines.
3.
For the same amount of power, the three-phase system is more economical than the single-phase. The amount of wire required for a three-phase system is less than that required for an equivalent single-phase system.

## Slide 5
12.2 Balanced Three-Phase Voltages
Three-phase voltages are often produced with a three-phase ac generator (or alternator) whose cross-sectional view is shown below.
The three-phase generator has three induction coils placed 120° apart on the stator.
The three coils have an equal number of turns, the voltage induced across each coil will have the same peak value, shape and frequency.
Voltages having 120 phase difference

## Slide 6
The voltage sources can be either wye-connected or delta-connected as shown figure below.

## Slide 7
Since the three-phase voltages are out of phase with each other, there are two possible combinations.
This sequence is produced when the rotor rotates counterclockwise.
As a common tradition in power systems, voltage and current in this chapter are in rms values unless otherwise stated

## Slide 8
The other possibility is shown below.
This sequence is produced when the rotor rotates clockwise.
It is easy to show that the voltages

## Slide 9
Example:
Determine the phase sequence of the set of voltages
The voltages can be expressed in phasor form as
Solution:
Practice Problem 12.1

## Slide 10
Like the generator connections, a three-phase load can be either wye-connected or delta-connected, depending on the end application.
A wye- or delta-connected load is said to be unbalanced if the phase impedances are not equal in magnitude or phase.

## Slide 11
For a balanced wye-connected load,
For a balanced delta connected load,
We know that a wye-connected load can be transformed into a delta connected load, or vice versa, using
Since both the three-phase source and the three-phase load can be either wye- or delta-connected, we have four possible connections:

## Slide 12
12.3 Balanced Wye-Wye Connection

## Slide 13
Assuming the positive sequence, the phase voltages (or line-to neutral voltages) are

## Slide 15
Applying KVL to each phase in figure below, we obtain the line currents as
We can readily infer that the line currents add up to zero,
So that
The voltage across the neutral wire is zero
In the Y-Y system, the line current is the same as the phase current.
The neutral line can thus be removed without affecting the system.

## Slide 16
An alternative way of analyzing a balanced Y-Y system is to do so on a “per phase” basis. We look at one phase, say phase a, and analyze the single-phase equivalent circuit shown below.

## Slide 17
Example:
Solution:
Calculate the line currents in the three-wire Y-Y system shown below.
The three-phase circuit is balanced; we may replace it with its single-phase equivalent circuit shown below.
Since the source voltages in system are in positive sequence, the line currents are also in positive sequence.

## Slide 18
Practice Problem 12.2
A Y-connected balanced three-phase generator with an impedance of per phase is connected to a Y-connected balanced load with an impedance of per phase. The line joining the generator and the load has an impedance of per phase. Assuming a positive sequence for the source voltages and that = 120 V Find: (a) the line voltages, (b) the line currents

## Slide 19
12.4 Balanced Wye-Delta Connection
There is, of course, no neutral connection from source to load for this case. Assuming the positive sequence, the phase voltages are
The line voltages are
From these voltages, we can obtain the phase currents as
These currents have the same magnitude but are out of phase with each other by

## Slide 20
Another way to get these phase currents is to apply KVL. For example, applying KVL around loop aABbna gives
This is the more general way of finding the phase currents.
By applying KCL at nodes A, B, and C.

## Slide 21
The line currents lag the corresponding phase currents by
An alternative way of analyzing the circuit is to transform the -connected load to an equivalent Y-connected load. Using the transformation formula .
After this transformation, we now have a Y-Y system

## Slide 22
Example:
Solution:
This can be solved in two ways.

## Slide 24
Practice Problem 12.3

## Slide 25
12.5 Balanced Delta-Delta Connection
Assuming a positive sequence, the phase voltages for a delta-connected source are
The line voltages are the same as the phase voltages.

## Slide 26
Assuming there is no line impedances, the phase voltages of the delta connected source are equal to the voltages across the impedances.
The phase currents are
The line currents are obtained from the phase currents by applying KCL at nodes A, B, and C
Also, as shown in the last section, each line current lags the corresponding phase current by
The magnitude of the line current is times the magnitude of the phase current,

## Slide 27
Example:
Solution:

## Slide 28
Practice Problem 12.4

## Slide 29
12.6 Balanced Delta-Wye Connection
Again, assuming the abc sequence, the phase voltages of a delta-connected source are

## Slide 30
We can obtain the line currents in many ways. One way is to apply KVL to loop aANBba

## Slide 31
Another way to obtain the line currents is to replace the delta connected source with its equivalent wye-connected source, as shown below.
We found that the line-to-line voltages of a wye-connected source lead their corresponding phase voltages by
Therefore, we obtain each phase voltage of the equivalent wye connected source by dividing the corresponding line voltage of the delta-connected source and shifting its phase by

## Slide 32
Once the source is transformed to wye, the circuit becomes a wye-wye system. Therefore, we can use the equivalent single-phase circuit shown below.
The line current for phase a is
From this, we obtain the other line currents and using the positive phase sequence,

## Slide 33
Example:
Solution:
When the - connected source is transformed to a Y-connected source
The line currents are
which are the same as the phase currents

## Slide 34
Practice Problem 12.5

## Slide 35
For a Y-connected load, the phase voltages
12.7 Power in a Balanced System

## Slide 36
The important consequences of the instantenous power equation of a balanced three phase system are:

## Slide 37
The complex power per phase is Sp. The total complex power for all phases is S.

## Slide 38
The complex power per phase is Sp. The total complex power for all phases is S.

## Slide 39
Notice the values of Vp, VL, Ip, IL for different load connections.
VL
VL
VL
Vp
Vp
Vp
Ip
Ip
Ip
VL
Vp
Ip
VL
VL
Vp
Vp
Ip
Ip
Y connected load.
Δ connected load.

## Slide 40
Calculate the complex power at the source and at the load
Practice Problem 12.6

## Slide 41
A three-phase motor can be regarded as a balanced Y-load. A three phase motor draws 5.6 kW when the line voltage is 220 V and the line current is 18.2 A. Determine the power factor of the motor
Example:
Solution:
The apparent power is
Since the real power is
the power factor is

## Slide 42
Calculate the line current required for a 30-kW three-phase motor having a power factor of 0.85 lagging if it is connected to a balanced source with a line voltage of 440 V
Practice Problem 12.7

## Slide 43
Example:

## Slide 44
Solution:

## Slide 46
Alternatively, we could obtain the current from the total complex power

## Slide 48
Practice Problem
12.8

## Slide 49
4.8 Unbalanced Three-Phase Systems
An unbalanced system is caused by two possible situations: (1) The source voltages are not equal in magnitude and/or differ in phase by angles that are unequal, or (2) load impedances are unequal
To simplify analysis, we will assume balanced source voltages, but an unbalanced load.
The line currents are
This set of unbalanced line currents produces current in the neutral line, which is not zero as in a balanced system. Applying KCL at node N gives the neutral line current as

## Slide 50
Example:
Solution:

## Slide 51
Practice Problem 12.9

## Slide 52
Example:
Solution:
For the unbalanced circuit shown below, find: (a) the line currents, (b) the total complex power absorbed by the load, and (c) the total complex power absorbed by the source
(a)

## Slide 55
(b)

## Slide 56
(c)

## Slide 57
Practice Problem 12.10
Find the line currents in the unbalanced three-phase circuit shown below and the real power
absorbed by the load.