## Slide 97
Trusses
2
•Fabricated from various steel sections available, jointed together by welding or by bolting usually via gusset plates.
•Plane trusses and space trusses.
•Bridge trusses and roof trusses.
•Members supporting heavy loads
•Members having longer span.
•Saving in weight.

## Slide 98: Roof truss

## Slide 99: Supporting truss

## Slide 100: Bracing truss

## Slide 101: Space truss - Truss System

## Slide 102: Singapore Esplanade theatre

## Slide 104: Roof Truss
Roof rafters spanning more than 20 m can be designed
Usual span-to-depth ratio of steep roof trusses is 7.5 to 12
Panel width should be constant
Even number of panels avoids cross-braces
Diagonal web members should be in tension under worst-case loading
Inclination angle of the diagonals should be between 35° and 50°
If at all possible, the purlins and verticals should closely coincide

## Slide 105: Usual range of depths of roof trusses

## Slide 106: Approximate mass for roof trusses

## Slide 107: Approximate mass for roof trusses

## Slide 108: (a)centre of gravity lines intersect at the node; (b)eccentric connection can be a practical way of detailing but additional bending stresses are induced

## Slide 109: (a) to (f ): commonly used in welded construction (though (a), (c), (d) and (e) may be bolted) (g) to (k): common sections used for chord and web/diagonal members

## Slide 110: (a) Gussetless construction using Tee-chords; (b) gussets are required where diagonals carry large forces; (c) Tee-diagonals and chords, gussetless; (d) and (e) node detail for heavy trusswork, and (f ) riveted/bolted nodes

## Slide 111: (a) portal-type Pratt truss (b) Fink truss with large eaves overhang (c) alternative chord cross-sections

## Slide 112: (a) sandwich plate splice; (b) sandwich plate splice at chord reduction; (c) jacket splice; (d) welded butt splice; (e) welded butt splice with reducer, and; (f ) flange splice

## Slide 113: (a) Direct contact overlap connection without eccentricity; (b) direct contact overlap connection with eccentricity; (c) direct contact gap connection with/without eccentricity (with chord face reinforcing plate shown—without reinforcing plate is very common); (d) T-joint with chord face reinforcing plate (for very heavy loads—otherwise no reinforcing plate is also popular); (e) connection detail at support (note vertical stub portion with flange splice for lifting onto support); (f ) concentric reducer where chord section is stepped down (alternatively, if the overall section is not stepped down then the wall thickness is reduced—the latter applies for RHS/SHS); (g) slotted-gusset connections; (h) flattened end connections, and; (i) slit tube connections.